WORKSHOP MAKING ORTHOPAEDIC APPLIANCES

| ELIGIBLE CRITERIA | EVALUATION CRITERIA | OBLIGATIONS |
| --- | --- | --- |
| - License to operate an orthopedic workshop issued by the Rwanda FDA - At least 1 permanent clinical orthopedist, level A1 - Current tax clearance from RRA - Current contributions clearance from Rwanda Social Security Board - List of materials and equipments specific to the Workshop according to MINISANTE norms and standards | - STAFF - At least 1 permanent clinical orthopedist, level A1 - At least 2 clinical orthopedists - ORGANISATION - Without hospitalisation department - At least 1 operational computer - Clear system for patients registration which can easily be traced - INFRASTRUCTURES III.1. External environment - Road accessibility - Located in a quiet and clean place - Adequate parking corresponding to the workshop capacity III.2. Building - Built with durable materials in its external structure - Built with durable, semi durable or temporary materials in its internal structure, which guarantee intimacy and confidentiality - Easily accessible internal services within the building - Sufficient free air circulation - Adequate lighting system - Without humidity - Tidy external walls - Tidy and well painted internal walls - Clean and well painted ceiling - Intact floor - Constant power supply III.3. Sufficient Hygiene - Constant water flow - Tank with sufficient capacity for the workshop - Sanitation : functional, clean, accessible, separated according to sex, well equipped with appropriate sanitation accessories - Proper system for waste management III.4. Materials and equipments specific for the Workshop (refer to the list sent per workshop in the partnership demand document) | - In case of partnership acquisition, handle all the medical services transactions for RSSB affiliates on IT based services - Offer quality services to RSSB beneficiaries - Accept the attachment of RSSB agent at the workshop - Abide by the tariffs as fixed by the Ministry of health in collaboration with partners - Send invoices to RSSB which exactly correspond to services offered to its beneficiaries - No charging extra payment to RSSB beneficiaries above the stipulated tariffs - No denying services available to RSSB beneficiaries basing on any reason whatsoever |