MEDICAL ANALYSIS LABORATORY

| ELIGIBLE CRITERIA | EVALUATION CRITERIA | OBLIGATIONS |
| --- | --- | --- |
| - Ministry of health authorization for medical analysis laboratory private practice showing the name of the owner - At least 1 permanent A0 specialist in laboratory sciences - Current tax clearance from RRA - Current contributions clearance from Rwanda Social Security Board - License to practice from Rwanda Medical Council for all doctors practicing in the laboratory - Contract copies for all doctors practicing in the laboratory - List of materials and equipments specific to the laboratory according to MINISANTE norms and standards | - STAFF - At least 1 permanent A0 specialist in laboratory sciences - At least 1 laboratory technician level A1 or A2 per department - ORGANISATION - At least 1 operational computer - Clear system for patients registration which can easily be traced - INFRASTRUCTURES III.1. External environment - Road accessibility - Located in a quiet and clean place - Adequate parking corresponding to the laboratory capacity III.2. Building - Built with durable materials in its external structure - Built with durable, semi durable or temporary materials in its internal structure, which guarantee intimacy and confidentiality - Easily accessible internal services within the building - Sufficient free air circulation - Adequate lighting system - Without humidity - Tidy external walls - Tidy and well painted internal walls - Clean and well painted ceiling - Intact floor - Constant power supply III.3. Sufficient Hygiene - Constant water flow - Tank with sufficient capacity for the laboratory - Water filter - Sanitation : functional, clean, accessible, separated according to sex, well equipped with appropriate sanitation accessories - Proper system for waste management III.4. Acceptable space management III.4.1. Waiting room and reception - At least surface area of 6mx5m - Appropriate seats with a capacity of a least 10 persons - Reception table with at least 2 chairs - Audio-visual educational materials - Adequate working space for RSSB agent, with socket for electric connection and working table with drawer capable of locking III.4.2. Room for specimen taking and labeling - Floor: continuous smooth, Sol finishing with sikafloor or equivalent with white color - Walls: bricks and concrete, with cream color oil paint - At least surface area of 3mx3m - Table with at least 2 chairs - Various tubes for samples - Water flow with washbasin - Dustbins with pedal accessories for different wastes - Fridge III.4.3. Room for specimen analysis - Floor: continuous smooth, Sol finishing with sikafloor or equivalent with white color - Walls: bricks and concrete, with cream color oil paint - At least surface area of 3mx3m - Separate rooms for different departments - Laboratory materials’ store - Laboratory technician’ table - Water flow with washbasin - Dustbins with pedal accessories for different wastes - Fridge III.4.4. Sterilisation room - At least surface area of 3mx3m - Table - Functional electric sterilizer with a capacity of meeting laboratory demands - At least 3 sterilizing drums per department III.5. Materials and equipments specific for the laboratory (refer to the list sent per laboratory in the partnership demand document) | - In case of partnership acquisition, handle all the medical services transactions for RSSB affiliates on IT based services - Offer quality services to RSSB beneficiaries - Accept the attachment of RSSB agent at the laboratory - Abide by the tariffs as fixed by the Ministry of health in collaboration with partners - Send invoices to RSSB which exactly correspond to services offered to its beneficiaries - No charging extra payment to RSSB beneficiaries above the stipulated tariffs - No denying services available to RSSB beneficiaries basing on any reason whatsoever |