POLYCLINIC

| ELIGIBLE CRITERIA | EVALUATION CRITERIA | OBLIGATIONS |
| --- | --- | --- |
| - Ministry of health authorization for polyclinic private practice showing the name of the owner - Hospitalization department - Pediatrics department if there is gynecology & obstetrics department - At least 1 permanent doctor (proof of contract if not the owner) - At least 2 specialized medical departments - At least 1 specialized doctor heading / responsible of each specialized department - General medicine department - Current tax clearance from RRA - Current contributions clearance from Rwanda Social Security Board - Valid license to practice from Rwanda Medical and Dental Council for all doctors and dental surgeons practicing in the clinic - Valid license/card to practice of the employed nurses or online license proofs issued by the Rwanda National Council for Nurses and Midwives - Valid license/card to practice from Rwanda Allied Health Professions Council for all physiotherapists, dental therapists, lab technicians, anesthetists, - Contract copies for all doctors and dental surgeons practicing in the polyclinic - List of materials and equipments specific to the specified departments according to MINISANTE norms and standards - List of lab tests provided at the polyclinic | - STAFF - At least 1 specialized doctor per department - At least 1 nurse level A1 - At least 3 nurses level A2 - At least 1 laboratory technician A1 - At least 2 laboratory technicians level A2 - At least A1 medical imaging technician (if applicable) - At least 1 anesthetist assistant level A1 in departments offering surgical procedures (if applicable) Note: the size of staff has to be proportional to the frequentation and services offered - ORGANISATION - Hospitalization department with at least the capacity of 10 beds - Ambulance or contract with referral hospital or any other ambulance services provider to ensure transfer of patients - At least 1 operational computer - Clear system for patients registration whereby all services rendered can easily be traced (recording and filing) - At least 1 stretcher - At least 1 wheelchair Note: the number of stretcher and wheelchair has to be proportional to the frequentation and services offered - INFRASTRUCTURES III.1. External environment - Road accessibility - Located in a quiet and clean place - Adequate parking corresponding to the Polyclinic capacity III.2. Building - Built with durable materials in its external structure - Built with durable, semi durable or temporary materials in its internal structure, which guarantee intimacy and confidentiality - Easily accessible internal services within the building - Sufficient free air circulation - Adequate lighting system - Without humidity - Tidy external walls - Tidy and well painted internal walls - Clean and well painted ceiling - Intact floor - Constant power supply with a standby generator (automatic generator for polyclinic with surgery department) III.3. Sufficient Hygiene - Constant water flow - Tank with sufficient capacity for the polyclinic - Water dispenser - Sanitation : functional, clean, accessible, separated according to sex, well equipped with appropriate sanitation accessories - Proper system for waste management - Proper system for destroying polluted and used materials (incinerator), or have a contract with a recognized institution which offer such services - Pit for placenta in any health establishment where deliveries are carried out (at least 5 meters deep). III.4. Acceptable spacing and beds management III.4.1. Waiting room and reception - At least surface area of 6mx5m - Appropriate seats with a capacity of a least 10 persons - Reception table with at least 2 chairs - Audio-visual educational materials - Adequate working space for RSSB agent, with socket for electric connection and working table with drawer capable of locking III.4.2. Triaging room and for vital signs’ taking - At least surface area of 3mx3m - Shelves files - Administrative table with at least 2 chairs - Pediatric balance - Adult balance - Dustbin with pedal accessory - Tape measure - Thermometer - Stethoscope - Blood pressure machine III.4.3. Consultation room - At least surface area of 3mx3m - Consultation bed - Consultation table with at least 2 chairs - Washbasin with its accessories - Dustbin with pedal accessory - Thermometer - Medical stethoscope - Blood pressure machine - Otoscope - Cupboard for instruments - Tongue depressor - Gloves box - Bedside stair - Patella hammer (percussion hammer) - Tape measure - Kidney dishes - White blouse (gown) - Examenination lamp - Hanger III.4.4. Laboratory room - Floor: continuous smooth, Sol finishing with sikafloor or equivalent with white color - Walls: bricks and concrete, with cream color oil paint - At least surface area of 3mx3m (depending on the capacity of the polyclinic) - Laboratory technician’ table - At least 1 fonctional microscope - Hematological tubes - Centrifuge - Spectrophotometer - Water flow with wash basin - Dustbins with pedal accessories for different wastes - Fridge - Laboratory materials’ store - Clear lab data recording system - Keep record of lab test results in the data machine for at least the last 6 months or maximum record capacity of the machine - Lab equipment related to lab services provided III.4.5. Sterilisation room - At least surface area of 3mx3m - Table - Functional electric sterilizer with a capacity of meeting Polyclinic demands - At least 3 sterilizing drums III.4.6. Minor theater - At least surface area of 3mx3m - Nursing bed - At least 2 chairs - Materials for minor surgery III.4.7. Nursing care ward - At least surface area of 4mx3m - Nursing table - 2 chairs - Cupboard with necessary materials III.4.8. Hospitalization : (at least 1/3 of beds adjustable) III.4.8.1. Individual room - At least surface area of 4mx3m - Comfortable bed meant for hospitalization - Interior toilet and bathroom - Wardrobe - Bedside drawers with 2 chairs - System for call of a doctor on duty - Hanged Mosquito bednet - Dustbin with pedal accessory - Intravenous fluid supporter III.4.8.2. Room with 2 beds - At least surface area of 5mx4m - 2 comfortable beds meant for hospitalization - Separated by at least 1 meter distance - Curtain separating the 2 beds - Interior toilet and bathroom - Wardrobe - Bedside drawers with 2 chairs - System for call of a doctor on duty - 2 Hanged Mosquito bednets - Dustbin with pedal accessory - Intravenous fluid supporter III.5. Materials and equipments specific for specified departments at the polyclinic (refer to the list sent per polyclinic in the partnership demand document) | - In case of partnership acquisition, handle all the medical services transactions for RSSB affiliates on IT based services - Offer quality services to RSSB beneficiaries - Accept the attachment of RSSB agent at the polyclinic - Abide by the tariffs as fixed by the Ministry of health in collaboration with partners - Offer services 24h/24 - Ensure permanent duty outside normal working hours with at least a permanent medical general practitioner supervised by a specialist - Operational laboratory services 24h/24 - Send invoices to RSSB which exactly correspond to services offered to its beneficiaries - No charging extra payment to RSSB beneficiaries above the stipulated tariffs - No denying services available to RSSB beneficiaries basing on any reason whatsoever |